## General Maze Procedure
Maze Set-Up Routine
1 | Restart control computer (Select power off and restart is in there) and turn on power for maze: Start control program on ubuntu machine if not running already. If not running open PyCharm in the doc or in applications and it should open up on the right monitor. In the PyCharm window, make sure the tab running main_ryan.py is selected. Right click over the code and select run. You may also select main_ryan.py in the upper right corner and clicke the green run button. Now the interface should be running. If a password prompt comes up use the password SusBrain. The power for the maze is turned on by the power strip located to the right of the door on the wall as you walk into the maze room.
2 | Turn lights with 'LIGHTS ON' button and turn on Cue Display on using the interface. Buttons on are in the interface Cue Display has an on and seperate off button.
3 | Shuffle Maze: Run the SegmentShuffle.py program in pycharm. You will get a three outputs the first is a list of 12 numbers, this represents the order in which the tracks (each track has a number scribed on the bottom of it) should be put on the maze starting from the south wall moving from east to west and progressing north. Next is a list of letters (each scribed on the burrom on the outer intersections, the list presents the North, East, South and West positions respectively. So if the return value is [B, C, D, A] B would go in the north intersection, C would go in the east etc. Finally the last value indicates how to place the center intersection is signifies a cardinal direction. There is a star on the bottom of the center intersection and it should be placed such that it is located in the indicated direction. It is a good idea to first remove all straight segments in order on to the table in the big room and shuffle the intersection, followed by putting the straight segments back on as indicated.
4 | Check barriers. Select all barriers up and make sure all the barriers are going up with an issue.
5 | Test Sound. Test the sound and make sure it is playing. Use play sound button.
6 | Get rats from vivarium. Get rats from vivarium and park them in the big room. We want to let them settle down before running. So we'll use the set-up time for that.
7 | Set up sweetend condensed milk (SCM). Get sweetend condensed milk (SCM) from small fridge from across the hall. Load syringes with SCM then use one of the syringes to add SCM to the small viles that go under each reward well. Fill them to the first line on the vile and them put them on the maze followed by adding the syringes to the maze. When adding the syringes to the syringe pump conect to lure-lock first then make sure to velcro on to the pump very tight. Then advance the stop up to the plunger carefully at high speed (rapid double tap and hold of top button) and when close shift to slow speed (single hold) until you can see the SCM in the line. After the syringes are on give each well two dispersals of SCM using the interface. You have to wait a couple seconds between button clicks. Then clean each well out.
8 | Put SCM back in Fridge and get defrost more for next day. Put the SCM back in the fridge and take out another vile from the freezer and put in the fridge to thaw for the next day.
9 | Set tracks in place. Set-up tracks on maze so it is ready for a rat to be placed on the maze. With the exception of the first exposure day make sure to have only the track closest to the door off so that you are freely able to enter the maze and place the rat in the correct start arm.
10 | Set Curtain placement. Velcro curtain on upper portion of entrance if it is not already.
11 | In the main room with the rats turn on the red light and then turn off the bright lights.
12 | Check spread sheet for what rat is running is and what goal should be selected. Then start that rat and make sure the appropiate session set-up is ready to run. Double check that you are running the correct rat and that all monitors are on.
13 | Click start session on the control computer and put rat on maze. Make sure you hear the noise when putting the rat on the maze. If using miniscope start miniscope in center of maze under the camera such that the light on the miniscope will be clearly visible in the recorded video.
14 | Close curtain and door to behavior room.
15 | Session will automatically end recording when done and you can in and take the rat with the EXCEPTION of running with a miniscope. When running with a miniscope a pause promt will pop up when the session is done. At this point go in and turn off the miniscope such that the off ligt can be seen in the video. You can then remove the rat and unpause and the session will end.

## SET-UP CHECK LIST
SET-UP CHECK LIST
1 | ALL MONITORS ON
2 | SOUND IS WORKING
3 | ALL BARRIERS RAISE PROPERLY WITHOUT ERROR MESSAGE
4 | SWEETEND CONDENSED MILK (SCM) IN SMALL VILES VELCROED UNDER WELLS
5 | ENOUGH SCM IN EACH SYRINGE TO MAKE IT THROUGH ALL THE SESSIONS
6 | PUT SCM BACK IN FRIDGE AND TAKE ONE OUT FROM FREEZER TO THAW FOR NEXT DAY
7 | RATS HAVE SETTLED IN ROOM FOR AT LEAST 10 MINUTES BEFORE RUNNING
8
9
10
11

## PRE-RUN CHECK LIST
PRERUN CHECK LIST
1 | MAZE AND BARRIERS ARE CLEAN
2 | ENOUGH SCM IN SYRINGES FOR SESSION
3 | ALL BARRIERS RAISE PROPERLY WITHOUT ERROR MESSAGE
4 | CORRECT RAT IS BEING RUN FOR THE SESSION
5 | CORRECT BEHAVIOR TYPE IS BEING USED FOR THE SESSION
6 | CORRECT GOAL IS SELECTED FOR THE SESSION
7 | NOISE IS ON WHEN PUTTING RAT ON MAZE
8
9
10
11

## Timeline
Day | Training | GUI session name | Recording
2025-01-02 | SCM exposure and handling
2025-03-04 | Exposure on Maze | Exposure | Exposure sessions
5-CRITERIA | Acquisition | Fixed No Cue Imaging | All acquisition sessions | acquisition criteria: 72% accuracy from both start arms two days in a row
CRITERIA+1 | Detour | Fixed No Cue Detour Imaging | Yes | start from a new start arm after 16 initial acquisition trials, same reward location
CRITERIA+2 | Reversal | Fixed No Cue Switch Imaging | Yes | switch reward location to opposite corner after 16 trials
Fixed Cue 1 Imaging
Exposure the same for all rats |  | Fixed Cue 2a Imaging
Fixed No Cue imaging
Imaging session time out at trial number x 3min |  | Fixed Cue Switch Imaging
Keywords: Imaging, Cue On |  | Fixed Cue Rotate Imaging
Fixed Cue On 1 Imaging
Fixed Cue On Switch Imaging
Fixed Cue On 2a Imaging
Rotate Train Imaging
Rotate Detour Imaging
Rotate Reverse Imaging